## Sheet1
THERANOSTICS FOR YTTRIUM-90 RADIOEMBOLISATION
RAPID PREDICTIVE CALCULATOR FOR SIR-SPHERES |  |  | v110623
© Dr Y.H. Kao MBBS MRCP FAMS FRACP FAANMS
Department of Nuclear Medicine, The Royal Melbourne Hospital
Name | Mr Example EXAMPLE | Date of birth | 1957-01-01 | Patient ID | 123456
Sampled arterial territory |  | Right hepatic |  | artery
Lung shunt fraction |  | LSF | 0.08 | (decimals, not %)
Lung mass |  |  | 0.8 | kg
Desired Lung mean absorbed dose |  |  | 10 | Gy
Sampled Lung radiodensity |  |  | -800 | HU (negative number)
Sampled Lung count density |  |  | 85 | counts/cm3
Sampled Tumour count density |  |  | 9988 | counts/cm3
Sampled Non-Tumorous Liver count density |  |  | 1060 | counts/cm3
Assumed Liver mass density |  |  | 1.05 | g/cm3
Sampled Lung mass density |  |  | 0.2 | g/cm3
Sampled Lung counts per gram |  |  | 425 | counts/g
Sampled Tumour counts per gram |  |  | 9512.381 | counts/g
Sampled Non-Tumorous Liver counts per gram |  |  | 1009.5238 | counts/g
Y-90 absorbed dose coefficient |  |  | 50 | Gy per GBq/kg
Tumour-to-Normal Liver Ratio |  | TNR | 9.4226
Tumour-to-Lung Ratio |  | TLR | 22.3821
Tumour mean absorbed dose |  |  | 223.8207 | Gy
Non-Tumorous Liver mean absorbed dose |  |  | 23.7535 | Gy
Total prescribed Y-90 activity |  | A0 | 2 | GBq
GUIDANCE
1. THIS CALCULATOR IS FOR EDUCATION, TRAINING AND RESEARCH PURPOSES ONLY.
2. Beware of sampling errors. If there is suspicion of significant error, the user must revert
to standard-of-care methods of predictive dosimetry e.g. Reference 1.
3. Key in the required parameters into the YELLOW boxes.
4. The sampled arterial territory is assumed to be representative of all of the other
targeted arterial territories.
REFERENCES:
[1] Kao YH, et al. J Nucl Med. 2012;53:559-566
[2] Kao YH, et al. EJNMMI Res. 2014;4:33
[3] Kao YH. Nucl Med Commun. 2014;35:331-332
[4] Kao YH. Nucl Med Commun. 2021;42:345-347